## buses
name | vn_kv | type | long | lat
Bus HV1 | 220 | n | 5 | 5
Bus HV2 | 11 | n | 5 | 3
Bus HV3 | 11 | n | 1 | 1
Bus HV4 | 11 | n | 5 | 1
Bus HV5 | 11 | n | 9 | 1
Bus HV6 | 11 | n | 13 | 4

## lineas
line_name | from_bus | to_bus | length_km | std_type
HV Line1 | Bus HV2 | Bus HV3 | 2 | 1
HV Line2 | Bus HV2 | Bus HV4 | 2 | 1
HV Line3 | Bus HV2 | Bus HV6 | 2 | 1
HV Line4 | Bus HV2 | Bus HV5 | 2 | 1

## transformadores
trafo_name | bus_hv | bus_lv | sn_mva | vn_hv_kv | vn_lv_kv | vkr_percent | vk_percent | pfe_kw | i0_percent | vector_group | shift_degree | vk0_percent | vkr0_percent | mag0_percent | mag0_rx | si0_hv_partial
EHV-HV-Trafo | Bus HV1 | Bus HV2 | 300 | 220 | 11 | 0.06 | 8 | 0 | 0 | Dyn | 0 | 8 | 0.78125 | 100 | 0 | 0.9

## cargas
load_name | bus
asymmetric_load1 | Bus HV3
asymmetric_load2 | Bus HV5
asymmetric_load3 | Bus HV4
asymmetric_load4 | Bus HV6

## time_loads
asymmetric_load1 | [5 empty] | asymmetric_load2 | [5 empty] | asymmetric_load3 | [5 empty] | asymmetric_load4
p_a | p_b | p_c | q_a | q_b | q_c | p_a | p_b | p_c | q_a | q_b | q_c | p_a | p_b | p_c | q_a | q_b | q_c | p_a | p_b | p_c | q_a | q_b | q_c
0.86572 | 0.26473 | 0.5542 | 0.14494 | -0.083281 | -0.14079 | 1.2635 | 0.86572 | 0.5542 | -0.11447 | 0.14494 | -0.14079 | 0.26473 | 1.2635 | 1.2635 | -0.083281 | -0.11447 | -0.11447 | 0.86572 | 1.2635 | 0.5542 | 0.14494 | -0.11447 | -0.14079
0.81184 | 0.25358 | 0.53595 | 0.14628 | -0.085011 | -0.13707 | 1.2014 | 0.81184 | 0.53595 | -0.12186 | 0.14628 | -0.13707 | 0.25358 | 1.2014 | 1.2014 | -0.085011 | -0.12186 | -0.12186 | 0.81184 | 1.2014 | 0.53595 | 0.14628 | -0.12186 | -0.13707
0.76093 | 0.236 | 0.52188 | 0.14279 | -0.085483 | -0.13731 | 1.1892 | 0.76093 | 0.52188 | -0.11881 | 0.14279 | -0.13731 | 0.236 | 1.1892 | 1.1892 | -0.085483 | -0.11881 | -0.11881 | 0.76093 | 1.1892 | 0.52188 | 0.14279 | -0.11881 | -0.13731
0.72547 | 0.23068 | 0.49776 | 0.14216 | -0.084917 | -0.14629 | 1.1048 | 0.72547 | 0.49776 | -0.13048 | 0.14216 | -0.14629 | 0.23068 | 1.1048 | 1.1048 | -0.084917 | -0.13048 | -0.13048 | 0.72547 | 1.1048 | 0.49776 | 0.14216 | -0.13048 | -0.14629
0.67582 | 0.2235 | 0.48605 | 0.13327 | -0.084107 | -0.14472 | 1.0946 | 0.67582 | 0.48605 | -0.13703 | 0.13327 | -0.14472 | 0.2235 | 1.0946 | 1.0946 | -0.084107 | -0.13703 | -0.13703 | 0.67582 | 1.0946 | 0.48605 | 0.13327 | -0.13703 | -0.14472
0.64124 | 0.21356 | 0.49297 | 0.12939 | -0.086078 | -0.13379 | 1.0199 | 0.64124 | 0.49297 | -0.14265 | 0.12939 | -0.13379 | 0.21356 | 1.0199 | 1.0199 | -0.086078 | -0.14265 | -0.14265 | 0.64124 | 1.0199 | 0.49297 | 0.12939 | -0.14265 | -0.13379
0.60712 | 0.20281 | 0.48183 | 0.12305 | -0.085103 | -0.13756 | 1.0314 | 0.60712 | 0.48183 | -0.14016 | 0.12305 | -0.13756 | 0.20281 | 1.0314 | 1.0314 | -0.085103 | -0.14016 | -0.14016 | 0.60712 | 1.0314 | 0.48183 | 0.12305 | -0.14016 | -0.13756
0.58261 | 0.19241 | 0.45822 | 0.12841 | -0.085173 | -0.14555 | 0.96638 | 0.58261 | 0.45822 | -0.1425 | 0.12841 | -0.14555 | 0.19241 | 0.96638 | 0.96638 | -0.085173 | -0.1425 | -0.1425 | 0.58261 | 0.96638 | 0.45822 | 0.12841 | -0.1425 | -0.14555
0.55527 | 0.19009 | 0.43069 | 0.1272 | -0.085116 | -0.15267 | 0.98721 | 0.55527 | 0.43069 | -0.13702 | 0.1272 | -0.15267 | 0.19009 | 0.98721 | 0.98721 | -0.085116 | -0.13702 | -0.13702 | 0.55527 | 0.98721 | 0.43069 | 0.1272 | -0.13702 | -0.15267
0.53675 | 0.18893 | 0.44223 | 0.12393 | -0.086448 | -0.14172 | 0.94362 | 0.53675 | 0.44223 | -0.1429 | 0.12393 | -0.14172 | 0.18893 | 0.94362 | 0.94362 | -0.086448 | -0.1429 | -0.1429 | 0.53675 | 0.94362 | 0.44223 | 0.12393 | -0.1429 | -0.14172
0.51934 | 0.18691 | 0.4299 | 0.12443 | -0.087661 | -0.14463 | 0.91823 | 0.51934 | 0.4299 | -0.16279 | 0.12443 | -0.14463 | 0.18691 | 0.91823 | 0.91823 | -0.087661 | -0.16279 | -0.16279 | 0.51934 | 0.91823 | 0.4299 | 0.12443 | -0.16279 | -0.14463
0.50294 | 0.18834 | 0.42212 | 0.12225 | -0.085369 | -0.13914 | 0.87599 | 0.50294 | 0.42212 | -0.16009 | 0.12225 | -0.13914 | 0.18834 | 0.87599 | 0.87599 | -0.085369 | -0.16009 | -0.16009 | 0.50294 | 0.87599 | 0.42212 | 0.12225 | -0.16009 | -0.13914
0.50083 | 0.18541 | 0.42477 | 0.12714 | -0.085192 | -0.13451 | 0.8848 | 0.50083 | 0.42477 | -0.15775 | 0.12714 | -0.13451 | 0.18541 | 0.8848 | 0.8848 | -0.085192 | -0.15775 | -0.15775 | 0.50083 | 0.8848 | 0.42477 | 0.12714 | -0.15775 | -0.13451
0.49524 | 0.17779 | 0.41237 | 0.1201 | -0.086841 | -0.14564 | 0.84654 | 0.49524 | 0.41237 | -0.15921 | 0.1201 | -0.14564 | 0.17779 | 0.84654 | 0.84654 | -0.086841 | -0.15921 | -0.15921 | 0.49524 | 0.84654 | 0.41237 | 0.1201 | -0.15921 | -0.14564
0.48571 | 0.18163 | 0.40306 | 0.11582 | -0.083578 | -0.1481 | 0.86226 | 0.48571 | 0.40306 | -0.15745 | 0.11582 | -0.1481 | 0.18163 | 0.86226 | 0.86226 | -0.083578 | -0.15745 | -0.15745 | 0.48571 | 0.86226 | 0.40306 | 0.11582 | -0.15745 | -0.1481
0.48652 | 0.17711 | 0.40069 | 0.11331 | -0.084987 | -0.14823 | 0.8155 | 0.48652 | 0.40069 | -0.16087 | 0.11331 | -0.14823 | 0.17711 | 0.8155 | 0.8155 | -0.084987 | -0.16087 | -0.16087 | 0.48652 | 0.8155 | 0.40069 | 0.11331 | -0.16087 | -0.14823
0.48273 | 0.17364 | 0.39907 | 0.11629 | -0.087033 | -0.14986 | 0.8378 | 0.48273 | 0.39907 | -0.16387 | 0.11629 | -0.14986 | 0.17364 | 0.8378 | 0.8378 | -0.087033 | -0.16387 | -0.16387 | 0.48273 | 0.8378 | 0.39907 | 0.11629 | -0.16387 | -0.14986
0.46948 | 0.16957 | 0.3996 | 0.13178 | -0.088185 | -0.14548 | 0.80374 | 0.46948 | 0.3996 | -0.16661 | 0.13178 | -0.14548 | 0.16957 | 0.80374 | 0.80374 | -0.088185 | -0.16661 | -0.16661 | 0.46948 | 0.80374 | 0.3996 | 0.13178 | -0.16661 | -0.14548
0.45566 | 0.17131 | 0.39883 | 0.12403 | -0.08888 | -0.13917 | 0.82165 | 0.45566 | 0.39883 | -0.16542 | 0.12404 | -0.13917 | 0.17131 | 0.82165 | 0.82165 | -0.08888 | -0.16542 | -0.16542 | 0.45566 | 0.82165 | 0.39883 | 0.12403 | -0.16542 | -0.13917
0.45208 | 0.17508 | 0.39854 | 0.1172 | -0.086925 | -0.13853 | 0.78891 | 0.45208 | 0.39854 | -0.16826 | 0.1172 | -0.13853 | 0.17508 | 0.78891 | 0.78891 | -0.086925 | -0.16826 | -0.16826 | 0.45208 | 0.78891 | 0.39854 | 0.1172 | -0.16826 | -0.13853
0.4484 | 0.17396 | 0.40128 | 0.11635 | -0.08768 | -0.14003 | 0.82334 | 0.4484 | 0.40128 | -0.16915 | 0.11635 | -0.14003 | 0.17396 | 0.82334 | 0.82334 | -0.08768 | -0.16915 | -0.16915 | 0.4484 | 0.82334 | 0.40128 | 0.11635 | -0.16915 | -0.14003
0.45134 | 0.175 | 0.39026 | 0.11783 | -0.090498 | -0.14464 | 0.79914 | 0.45134 | 0.39026 | -0.18323 | 0.11783 | -0.14464 | 0.175 | 0.79914 | 0.79914 | -0.090498 | -0.18323 | -0.18323 | 0.45134 | 0.79914 | 0.39026 | 0.11783 | -0.18323 | -0.14464
0.45752 | 0.18147 | 0.39466 | 0.11408 | -0.087548 | -0.14358 | 0.83768 | 0.45752 | 0.39466 | -0.18056 | 0.11408 | -0.14358 | 0.18147 | 0.83768 | 0.83768 | -0.087548 | -0.18056 | -0.18056 | 0.45752 | 0.83768 | 0.39466 | 0.11408 | -0.18056 | -0.14358
0.46408 | 0.18227 | 0.39285 | 0.11356 | -0.086919 | -0.1406 | 0.84426 | 0.46408 | 0.39285 | -0.17181 | 0.11356 | -0.1406 | 0.18227 | 0.84426 | 0.84426 | -0.086919 | -0.17181 | -0.17181 | 0.46408 | 0.84426 | 0.39285 | 0.11356 | -0.17181 | -0.1406
0.49321 | 0.18654 | 0.39257 | 0.12056 | -0.085668 | -0.13943 | 0.96089 | 0.49321 | 0.39257 | -0.14435 | 0.12056 | -0.13943 | 0.18654 | 0.96089 | 0.96089 | -0.085668 | -0.14435 | -0.14435 | 0.49321 | 0.96089 | 0.39257 | 0.12056 | -0.14435 | -0.13943
0.51986 | 0.20494 | 0.41133 | 0.11433 | -0.084777 | -0.14391 | 1.0406 | 0.51986 | 0.41133 | -0.13663 | 0.11433 | -0.14391 | 0.20494 | 1.0406 | 1.0406 | -0.084777 | -0.13663 | -0.13663 | 0.51986 | 1.0406 | 0.41133 | 0.11433 | -0.13663 | -0.14391
0.55498 | 0.22512 | 0.40029 | 0.10127 | -0.087468 | -0.14029 | 1.121 | 0.55498 | 0.40029 | -0.12818 | 0.10127 | -0.14029 | 0.22512 | 1.121 | 1.121 | -0.087468 | -0.12818 | -0.12818 | 0.55498 | 1.121 | 0.40029 | 0.10127 | -0.12818 | -0.14029
0.56543 | 0.23329 | 0.37626 | 0.11052 | -0.087018 | -0.13655 | 1.1495 | 0.56543 | 0.37626 | -0.12257 | 0.11052 | -0.13655 | 0.23329 | 1.1495 | 1.1495 | -0.087018 | -0.12257 | -0.12257 | 0.56543 | 1.1495 | 0.37626 | 0.11052 | -0.12257 | -0.13655
0.58756 | 0.23515 | 0.36769 | 0.11457 | -0.086614 | -0.13743 | 1.1688 | 0.58756 | 0.36769 | -0.12211 | 0.11457 | -0.13743 | 0.23515 | 1.1688 | 1.1688 | -0.086614 | -0.12211 | -0.12211 | 0.58756 | 1.1688 | 0.36769 | 0.11457 | -0.12211 | -0.13743
0.61696 | 0.24575 | 0.37173 | 0.11728 | -0.085192 | -0.12419 | 1.1776 | 0.61696 | 0.37173 | -0.11892 | 0.11728 | -0.12419 | 0.24575 | 1.1776 | 1.1776 | -0.085192 | -0.11892 | -0.11892 | 0.61696 | 1.1776 | 0.37173 | 0.11728 | -0.11892 | -0.12419
0.63376 | 0.25677 | 0.36343 | 0.11157 | -0.0833 | -0.13396 | 1.2516 | 0.63376 | 0.36343 | -0.1021 | 0.11157 | -0.13396 | 0.25677 | 1.2516 | 1.2516 | -0.0833 | -0.1021 | -0.1021 | 0.63376 | 1.2516 | 0.36343 | 0.11157 | -0.1021 | -0.13396
0.68013 | 0.28668 | 0.37601 | 0.13087 | -0.078402 | -0.13128 | 1.3402 | 0.68013 | 0.37601 | -0.063779 | 0.13087 | -0.13128 | 0.28668 | 1.3402 | 1.3402 | -0.078402 | -0.063779 | -0.063779 | 0.68013 | 1.3402 | 0.37601 | 0.13087 | -0.063779 | -0.13128
0.7114 | 0.31239 | 0.39071 | 0.14408 | -0.05181 | -0.12688 | 1.4634 | 0.7114 | 0.39071 | -0.01431 | 0.14408 | -0.12688 | 0.31239 | 1.4634 | 1.4634 | -0.05181 | -0.01431 | -0.01431 | 0.7114 | 1.4634 | 0.39071 | 0.14408 | -0.01431 | -0.12688
0.69995 | 0.37564 | 0.39346 | 0.13443 | -0.038546 | -0.13491 | 1.6088 | 0.69995 | 0.39346 | 0.0012997 | 0.13443 | -0.13491 | 0.37564 | 1.6088 | 1.6088 | -0.038546 | 0.0012997 | 0.0012997 | 0.69995 | 1.6088 | 0.39346 | 0.13443 | 0.0012997 | -0.13491
0.73155 | 0.39558 | 0.4124 | 0.14844 | -0.039599 | -0.13748 | 1.5752 | 0.73155 | 0.4124 | 0.020232 | 0.14844 | -0.13748 | 0.39558 | 1.5752 | 1.5752 | -0.039599 | 0.020232 | 0.020232 | 0.73155 | 1.5752 | 0.4124 | 0.14844 | 0.020232 | -0.13748
0.75207 | 0.41021 | 0.43492 | 0.15266 | -0.028683 | -0.13453 | 1.5604 | 0.75207 | 0.43492 | 0.04871 | 0.15266 | -0.13453 | 0.41021 | 1.5604 | 1.5604 | -0.028683 | 0.04871 | 0.04871 | 0.75207 | 1.5604 | 0.43492 | 0.15266 | 0.04871 | -0.13453
0.77676 | 0.42494 | 0.44138 | 0.15319 | -0.02191 | -0.13167 | 1.5839 | 0.77676 | 0.44138 | 0.053482 | 0.15319 | -0.13167 | 0.42494 | 1.5839 | 1.5839 | -0.02191 | 0.053482 | 0.053482 | 0.77676 | 1.5839 | 0.44138 | 0.15319 | 0.053482 | -0.13167
0.79966 | 0.43368 | 0.45711 | 0.16093 | -0.013637 | -0.12607 | 1.5608 | 0.79966 | 0.45711 | 0.052081 | 0.16093 | -0.12607 | 0.43368 | 1.5608 | 1.5608 | -0.013637 | 0.052081 | 0.052081 | 0.79966 | 1.5608 | 0.45711 | 0.16093 | 0.052081 | -0.12607
0.81469 | 0.44571 | 0.46297 | 0.15838 | -0.015202 | -0.12101 | 1.6665 | 0.81469 | 0.46297 | 0.054027 | 0.15838 | -0.12101 | 0.44571 | 1.6665 | 1.6665 | -0.015202 | 0.054027 | 0.054027 | 0.81469 | 1.6665 | 0.46297 | 0.15838 | 0.054027 | -0.12101
0.84405 | 0.45357 | 0.47703 | 0.15763 | -0.037601 | -0.12065 | 1.6246 | 0.84405 | 0.47703 | 0.035218 | 0.15763 | -0.12065 | 0.45357 | 1.6246 | 1.6246 | -0.037601 | 0.035218 | 0.035218 | 0.84405 | 1.6246 | 0.47703 | 0.15763 | 0.035218 | -0.12065
0.86599 | 0.38916 | 0.47094 | 0.16107 | -0.062222 | -0.1226 | 1.6248 | 0.86599 | 0.47094 | 0.01723 | 0.16107 | -0.1226 | 0.38916 | 1.6248 | 1.6248 | -0.062222 | 0.01723 | 0.01723 | 0.86599 | 1.6248 | 0.47094 | 0.16107 | 0.01723 | -0.1226
0.88954 | 0.46628 | 0.48709 | 0.18157 | -0.025388 | -0.12234 | 1.7352 | 0.88954 | 0.48709 | 0.059903 | 0.18157 | -0.12234 | 0.46628 | 1.7352 | 1.7352 | -0.025388 | 0.059903 | 0.059903 | 0.88954 | 1.7352 | 0.48709 | 0.18157 | 0.059903 | -0.12234
0.91321 | 0.49567 | 0.50314 | 0.18362 | -0.010945 | -0.11764 | 1.8423 | 0.91321 | 0.50314 | 0.10999 | 0.18362 | -0.11764 | 0.49567 | 1.8423 | 1.8423 | -0.010945 | 0.10999 | 0.10999 | 0.91321 | 1.8423 | 0.50314 | 0.18362 | 0.10999 | -0.11764
0.92946 | 0.50611 | 0.50847 | 0.17942 | -0.008296 | -0.11115 | 1.9049 | 0.92946 | 0.50847 | 0.11175 | 0.17942 | -0.11115 | 0.50611 | 1.9049 | 1.9049 | -0.008296 | 0.11175 | 0.11175 | 0.92946 | 1.9049 | 0.50847 | 0.17942 | 0.11175 | -0.11115
0.92903 | 0.48362 | 0.51479 | 0.17563 | -0.020742 | -0.1064 | 1.863 | 0.92903 | 0.51479 | 0.095722 | 0.17563 | -0.1064 | 0.48362 | 1.863 | 1.863 | -0.020742 | 0.095722 | 0.095722 | 0.92903 | 1.863 | 0.51479 | 0.17563 | 0.095722 | -0.1064
0.94821 | 0.50984 | 0.51212 | 0.17174 | -0.0039197 | -0.11032 | 1.9101 | 0.94821 | 0.51212 | 0.10857 | 0.17174 | -0.11032 | 0.50984 | 1.9101 | 1.9101 | -0.0039197 | 0.10857 | 0.10857 | 0.94821 | 1.9101 | 0.51212 | 0.17174 | 0.10857 | -0.11032
0.96842 | 0.50501 | 0.5032 | 0.17871 | -0.013827 | -0.11465 | 1.9781 | 0.96842 | 0.5032 | 0.13971 | 0.17871 | -0.11465 | 0.50501 | 1.9781 | 1.9781 | -0.013827 | 0.13971 | 0.13971 | 0.96842 | 1.9781 | 0.5032 | 0.17871 | 0.13971 | -0.11465
0.99846 | 0.47669 | 0.52261 | 0.19749 | -0.03909 | -0.109 | 2.028 | 0.99846 | 0.52261 | 0.14752 | 0.19749 | -0.109 | 0.47669 | 2.028 | 2.028 | -0.03909 | 0.14752 | 0.14752 | 0.99846 | 2.028 | 0.52261 | 0.19749 | 0.14752 | -0.109
1.0043 | 0.4488 | 0.52778 | 0.20033 | -0.050055 | -0.10279 | 2.0164 | 1.0043 | 0.52778 | 0.1232 | 0.20033 | -0.10279 | 0.4488 | 2.0164 | 2.0164 | -0.050055 | 0.1232 | 0.1232 | 1.0043 | 2.0164 | 0.52778 | 0.20033 | 0.1232 | -0.10279
1.0159 | 0.46702 | 0.53223 | 0.19852 | -0.03984 | -0.10093 | 1.9563 | 1.0159 | 0.53223 | 0.096048 | 0.19852 | -0.10093 | 0.46702 | 1.9563 | 1.9563 | -0.03984 | 0.096048 | 0.096048 | 1.0159 | 1.9563 | 0.53223 | 0.19852 | 0.096048 | -0.10093
1.0514 | 0.47872 | 0.53734 | 0.20105 | -0.039345 | -0.093673 | 1.8407 | 1.0514 | 0.53734 | 0.067518 | 0.20105 | -0.093673 | 0.47872 | 1.8407 | 1.8407 | -0.039345 | 0.067518 | 0.067518 | 1.0514 | 1.8407 | 0.53734 | 0.20105 | 0.067518 | -0.093673
1.0597 | 0.44344 | 0.5354 | 0.2025 | -0.046779 | -0.099189 | 1.8795 | 1.0597 | 0.5354 | 0.065205 | 0.2025 | -0.099189 | 0.44344 | 1.8795 | 1.8795 | -0.046779 | 0.065205 | 0.065205 | 1.0597 | 1.8795 | 0.5354 | 0.2025 | 0.065205 | -0.099189
1.0488 | 0.45196 | 0.53578 | 0.20139 | -0.032978 | -0.10029 | 1.7987 | 1.0488 | 0.53578 | 0.059142 | 0.20139 | -0.10029 | 0.45196 | 1.7987 | 1.7987 | -0.032978 | 0.059142 | 0.059142 | 1.0488 | 1.7987 | 0.53578 | 0.20139 | 0.059142 | -0.10029
1.049 | 0.47913 | 0.539 | 0.19781 | -0.019838 | -0.096768 | 1.8297 | 1.049 | 0.539 | 0.077646 | 0.19781 | -0.096768 | 0.47913 | 1.8297 | 1.8297 | -0.019838 | 0.077646 | 0.077646 | 1.049 | 1.8297 | 0.539 | 0.19781 | 0.077646 | -0.096768
1.0377 | 0.46442 | 0.54678 | 0.18887 | -0.037662 | -0.096833 | 1.8072 | 1.0377 | 0.54678 | 0.087576 | 0.18887 | -0.096833 | 0.46442 | 1.8072 | 1.8072 | -0.037662 | 0.087576 | 0.087576 | 1.0377 | 1.8072 | 0.54678 | 0.18887 | 0.087576 | -0.096833
1.0299 | 0.46017 | 0.5492 | 0.1967 | -0.033135 | -0.095579 | 1.8115 | 1.0299 | 0.5492 | 0.09384 | 0.1967 | -0.095579 | 0.46017 | 1.8115 | 1.8115 | -0.033135 | 0.09384 | 0.09384 | 1.0299 | 1.8115 | 0.5492 | 0.1967 | 0.09384 | -0.095579
1.0161 | 0.4864 | 0.55619 | 0.19644 | -0.015735 | -0.09459 | 1.8026 | 1.0161 | 0.55619 | 0.096234 | 0.19644 | -0.09459 | 0.4864 | 1.8026 | 1.8026 | -0.015735 | 0.096234 | 0.096234 | 1.0161 | 1.8026 | 0.55619 | 0.19644 | 0.096234 | -0.09459
1.0192 | 0.49796 | 0.55956 | 0.19907 | 0.0032963 | -0.092975 | 1.8766 | 1.0192 | 0.55956 | 0.10229 | 0.19907 | -0.092975 | 0.49796 | 1.8766 | 1.8766 | 0.0032963 | 0.10229 | 0.10229 | 1.0192 | 1.8766 | 0.55956 | 0.19907 | 0.10229 | -0.092975
1.0206 | 0.48395 | 0.56283 | 0.19536 | -0.0063413 | -0.086048 | 1.8227 | 1.0206 | 0.56283 | 0.101 | 0.19536 | -0.086048 | 0.48395 | 1.8227 | 1.8227 | -0.0063413 | 0.101 | 0.101 | 1.0206 | 1.8227 | 0.56283 | 0.19536 | 0.101 | -0.086048
1.0123 | 0.50221 | 0.57187 | 0.19161 | -0.0032267 | -0.079967 | 1.9014 | 1.0123 | 0.57187 | 0.12006 | 0.19161 | -0.079967 | 0.50221 | 1.9014 | 1.9014 | -0.0032267 | 0.12006 | 0.12006 | 1.0123 | 1.9014 | 0.57187 | 0.19161 | 0.12006 | -0.079967
1.0415 | 0.49093 | 0.56645 | 0.20765 | -0.011133 | -0.079971 | 1.9461 | 1.0415 | 0.56645 | 0.13497 | 0.20765 | -0.079971 | 0.49093 | 1.9461 | 1.9461 | -0.011133 | 0.13497 | 0.13497 | 1.0415 | 1.9461 | 0.56645 | 0.20765 | 0.13497 | -0.079971
1.0244 | 0.49889 | 0.55655 | 0.19575 | -0.001187 | -0.082323 | 1.9787 | 1.0244 | 0.55655 | 0.14204 | 0.19575 | -0.082323 | 0.49889 | 1.9787 | 1.9787 | -0.001187 | 0.14204 | 0.14204 | 1.0244 | 1.9787 | 0.55655 | 0.19575 | 0.14204 | -0.082323
1.0048 | 0.49109 | 0.55257 | 0.20131 | -0.006087 | -0.079884 | 1.9528 | 1.0048 | 0.55257 | 0.11429 | 0.20131 | -0.079884 | 0.49109 | 1.9528 | 1.9528 | -0.006087 | 0.11429 | 0.11429 | 1.0048 | 1.9528 | 0.55257 | 0.20131 | 0.11429 | -0.079884
0.99769 | 0.46796 | 0.54685 | 0.19833 | -0.013069 | -0.077081 | 1.8818 | 0.99769 | 0.54685 | 0.10006 | 0.19833 | -0.077081 | 0.46796 | 1.8818 | 1.8818 | -0.013069 | 0.10006 | 0.10006 | 0.99769 | 1.8818 | 0.54685 | 0.19833 | 0.10006 | -0.077081
0.98229 | 0.39615 | 0.54469 | 0.18981 | -0.04831 | -0.076894 | 1.8624 | 0.98229 | 0.54469 | 0.089085 | 0.18981 | -0.076894 | 0.39615 | 1.8624 | 1.8624 | -0.04831 | 0.089085 | 0.089085 | 0.98229 | 1.8624 | 0.54469 | 0.18981 | 0.089085 | -0.076894
0.9895 | 0.45042 | 0.54573 | 0.20335 | -0.018226 | -0.080685 | 1.8109 | 0.9895 | 0.54573 | 0.066658 | 0.20335 | -0.080685 | 0.45042 | 1.8109 | 1.8109 | -0.018226 | 0.066658 | 0.066658 | 0.9895 | 1.8109 | 0.54573 | 0.20335 | 0.066658 | -0.080685
0.97842 | 0.46234 | 0.53404 | 0.19921 | -0.009029 | -0.084373 | 1.7255 | 0.97842 | 0.53404 | 0.043526 | 0.19921 | -0.084373 | 0.46234 | 1.7255 | 1.7255 | -0.009029 | 0.043526 | 0.043526 | 0.97842 | 1.7255 | 0.53404 | 0.19921 | 0.043526 | -0.084373
0.96612 | 0.47921 | 0.50524 | 0.20003 | -0.0010487 | -0.11146 | 1.6132 | 0.96612 | 0.50524 | 0.024055 | 0.20003 | -0.11146 | 0.47921 | 1.6132 | 1.6132 | -0.0010487 | 0.024055 | 0.024055 | 0.96612 | 1.6132 | 0.50524 | 0.20003 | 0.024055 | -0.11146
0.97411 | 0.48217 | 0.5159 | 0.20534 | 0.0034153 | -0.098672 | 1.5441 | 0.97411 | 0.5159 | 0.012504 | 0.20534 | -0.098672 | 0.48217 | 1.5441 | 1.5441 | 0.0034153 | 0.012504 | 0.012504 | 0.97411 | 1.5441 | 0.5159 | 0.20534 | 0.012504 | -0.098672
1.0044 | 0.47294 | 0.52516 | 0.20409 | -0.01294 | -0.094815 | 1.5378 | 1.0044 | 0.52516 | 0.012351 | 0.20409 | -0.094815 | 0.47294 | 1.5378 | 1.5378 | -0.01294 | 0.012351 | 0.012351 | 1.0044 | 1.5378 | 0.52516 | 0.20409 | 0.012351 | -0.094815
1.0357 | 0.4556 | 0.52605 | 0.20282 | -0.039496 | -0.09802 | 1.5866 | 1.0357 | 0.52605 | 0.007166 | 0.20282 | -0.09802 | 0.4556 | 1.5866 | 1.5866 | -0.039496 | 0.007166 | 0.007166 | 1.0357 | 1.5866 | 0.52605 | 0.20282 | 0.007166 | -0.09802
1.119 | 0.38811 | 0.51776 | 0.1903 | -0.066871 | -0.099098 | 1.5738 | 1.119 | 0.51776 | -0.055347 | 0.1903 | -0.099098 | 0.38811 | 1.5738 | 1.5738 | -0.066871 | -0.055347 | -0.055347 | 1.119 | 1.5738 | 0.51776 | 0.1903 | -0.055347 | -0.099098
1.1579 | 0.36014 | 0.5151 | 0.18894 | -0.077775 | -0.1012 | 1.5863 | 1.1579 | 0.5151 | -0.072517 | 0.18894 | -0.1012 | 0.36014 | 1.5863 | 1.5863 | -0.077775 | -0.072517 | -0.072517 | 1.1579 | 1.5863 | 0.5151 | 0.18894 | -0.072517 | -0.1012
1.1709 | 0.3711 | 0.5035 | 0.1846 | -0.07407 | -0.10986 | 1.6037 | 1.1709 | 0.5035 | -0.075204 | 0.1846 | -0.10986 | 0.3711 | 1.6037 | 1.6037 | -0.07407 | -0.075204 | -0.075204 | 1.1709 | 1.6037 | 0.5035 | 0.1846 | -0.075204 | -0.10986
1.1926 | 0.3675 | 0.50474 | 0.18524 | -0.072922 | -0.10799 | 1.6148 | 1.1926 | 0.50474 | -0.072622 | 0.18524 | -0.10799 | 0.3675 | 1.6148 | 1.6148 | -0.072922 | -0.072622 | -0.072622 | 1.1926 | 1.6148 | 0.50474 | 0.18524 | -0.072622 | -0.10799
1.2159 | 0.36345 | 0.50826 | 0.18197 | -0.074525 | -0.10699 | 1.6162 | 1.2159 | 0.50826 | -0.075525 | 0.18197 | -0.10699 | 0.36345 | 1.6162 | 1.6162 | -0.074525 | -0.075525 | -0.075525 | 1.2159 | 1.6162 | 0.50826 | 0.18197 | -0.075525 | -0.10699
1.2134 | 0.32708 | 0.5186 | 0.18656 | -0.076192 | -0.10062 | 1.6315 | 1.2134 | 0.5186 | -0.071354 | 0.18656 | -0.10062 | 0.32708 | 1.6315 | 1.6315 | -0.076192 | -0.071354 | -0.071354 | 1.2134 | 1.6315 | 0.5186 | 0.18656 | -0.071354 | -0.10062
1.217 | 0.33129 | 0.53369 | 0.18232 | -0.078261 | -0.10078 | 1.629 | 1.217 | 0.53369 | -0.079211 | 0.18232 | -0.10078 | 0.33129 | 1.629 | 1.629 | -0.078261 | -0.079211 | -0.079211 | 1.217 | 1.629 | 0.53369 | 0.18232 | -0.079211 | -0.10078
1.2124 | 0.31211 | 0.53579 | 0.18047 | -0.082877 | -0.10022 | 1.6286 | 1.2124 | 0.53579 | -0.076502 | 0.18047 | -0.10022 | 0.31211 | 1.6286 | 1.6286 | -0.082877 | -0.076502 | -0.076502 | 1.2124 | 1.6286 | 0.53579 | 0.18047 | -0.076502 | -0.10022
1.2163 | 0.32442 | 0.53034 | 0.1839 | -0.077899 | -0.10715 | 1.6251 | 1.2163 | 0.53034 | -0.069655 | 0.1839 | -0.10715 | 0.32442 | 1.6251 | 1.6251 | -0.077899 | -0.069655 | -0.069655 | 1.2163 | 1.6251 | 0.53034 | 0.1839 | -0.069655 | -0.10715
1.2198 | 0.3286 | 0.51949 | 0.18394 | -0.075902 | -0.12042 | 1.6269 | 1.2198 | 0.51949 | -0.077043 | 0.18394 | -0.12042 | 0.3286 | 1.6269 | 1.6269 | -0.075902 | -0.077043 | -0.077043 | 1.2198 | 1.6269 | 0.51949 | 0.18394 | -0.077043 | -0.12042
1.217 | 0.31718 | 0.53305 | 0.18175 | -0.079255 | -0.12207 | 1.6102 | 1.217 | 0.53305 | -0.07719 | 0.18175 | -0.12207 | 0.31718 | 1.6102 | 1.6102 | -0.079255 | -0.07719 | -0.07719 | 1.217 | 1.6102 | 0.53305 | 0.18175 | -0.07719 | -0.12207
1.2311 | 0.31544 | 0.52655 | 0.18372 | -0.076428 | -0.12662 | 1.5969 | 1.2311 | 0.52655 | -0.083155 | 0.18372 | -0.12662 | 0.31544 | 1.5969 | 1.5969 | -0.076428 | -0.083155 | -0.083155 | 1.2311 | 1.5969 | 0.52655 | 0.18372 | -0.083155 | -0.12662
1.2179 | 0.31736 | 0.53614 | 0.17413 | -0.075388 | -0.12892 | 1.6174 | 1.2179 | 0.53614 | -0.082021 | 0.17413 | -0.12892 | 0.31736 | 1.6174 | 1.6174 | -0.075388 | -0.082021 | -0.082021 | 1.2179 | 1.6174 | 0.53614 | 0.17413 | -0.082021 | -0.12892
1.2317 | 0.29617 | 0.55196 | 0.1749 | -0.084773 | -0.1311 | 1.5882 | 1.2317 | 0.55196 | -0.092317 | 0.1749 | -0.1311 | 0.29617 | 1.5882 | 1.5882 | -0.084773 | -0.092317 | -0.092317 | 1.2317 | 1.5882 | 0.55196 | 0.1749 | -0.092317 | -0.1311
1.2122 | 0.34227 | 0.58783 | 0.17 | -0.076391 | -0.14009 | 1.589 | 1.2122 | 0.58783 | -0.096175 | 0.17 | -0.14009 | 0.34227 | 1.589 | 1.589 | -0.076391 | -0.096175 | -0.096175 | 1.2122 | 1.589 | 0.58783 | 0.17 | -0.096175 | -0.14009
1.1887 | 0.35471 | 0.62312 | 0.15937 | -0.074369 | -0.13978 | 1.5672 | 1.1887 | 0.62312 | -0.098508 | 0.15937 | -0.13978 | 0.35471 | 1.5672 | 1.5672 | -0.074369 | -0.098508 | -0.098508 | 1.1887 | 1.5672 | 0.62312 | 0.15937 | -0.098508 | -0.13978
1.195 | 0.34281 | 0.63972 | 0.15886 | -0.076739 | -0.14579 | 1.5355 | 1.195 | 0.63972 | -0.10257 | 0.15886 | -0.14579 | 0.34281 | 1.5355 | 1.5355 | -0.076739 | -0.10257 | -0.10257 | 1.195 | 1.5355 | 0.63972 | 0.15886 | -0.10257 | -0.14579
1.1602 | 0.3332 | 0.63186 | 0.15265 | -0.076922 | -0.14907 | 1.5148 | 1.1602 | 0.63186 | -0.10011 | 0.15265 | -0.14907 | 0.3332 | 1.5148 | 1.5148 | -0.076922 | -0.10011 | -0.10011 | 1.1602 | 1.5148 | 0.63186 | 0.15265 | -0.10011 | -0.14907
1.127 | 0.33035 | 0.63651 | 0.15673 | -0.077289 | -0.14976 | 1.4933 | 1.127 | 0.63651 | -0.1005 | 0.15673 | -0.14976 | 0.33035 | 1.4933 | 1.4933 | -0.077289 | -0.1005 | -0.1005 | 1.127 | 1.4933 | 0.63651 | 0.15673 | -0.1005 | -0.14976
1.0829 | 0.31693 | 0.6185 | 0.15777 | -0.08311 | -0.14929 | 1.5445 | 1.0829 | 0.6185 | -0.074447 | 0.15777 | -0.14929 | 0.31693 | 1.5445 | 1.5445 | -0.08311 | -0.074447 | -0.074447 | 1.0829 | 1.5445 | 0.6185 | 0.15777 | -0.074447 | -0.14929
1.0483 | 0.30782 | 0.60299 | 0.14963 | -0.083538 | -0.15575 | 1.5433 | 1.0483 | 0.60299 | -0.071276 | 0.14963 | -0.15575 | 0.30782 | 1.5433 | 1.5433 | -0.083538 | -0.071276 | -0.071276 | 1.0483 | 1.5433 | 0.60299 | 0.14963 | -0.071276 | -0.15575
1.0258 | 0.31259 | 0.44535 | 0.14877 | -0.08 | -0.084212 | 1.5206 | 1.0258 | 0.44535 | -0.071994 | 0.14877 | -0.084212 | 0.31259 | 1.5206 | 1.5206 | -0.08 | -0.071994 | -0.071994 | 1.0258 | 1.5206 | 0.44535 | 0.14877 | -0.071994 | -0.084212
0.978 | 0.30295 | 0.34746 | 0.13578 | -0.083231 | -0.066653 | 1.4943 | 0.978 | 0.34746 | -0.079765 | 0.13578 | -0.066653 | 0.30295 | 1.4943 | 1.4943 | -0.083231 | -0.079765 | -0.079765 | 0.978 | 1.4943 | 0.34746 | 0.13578 | -0.079765 | -0.066653
0.94826 | 0.29379 | 0.29803 | 0.13665 | -0.083406 | -0.080032 | 1.4492 | 0.94826 | 0.29803 | -0.084399 | 0.13665 | -0.080032 | 0.29379 | 1.4492 | 1.4492 | -0.083406 | -0.084399 | -0.084399 | 0.94826 | 1.4492 | 0.29803 | 0.13665 | -0.084399 | -0.080032
0.91781 | 0.28483 | 0.27159 | 0.13487 | -0.082666 | -0.087932 | 1.4027 | 0.91781 | 0.27159 | -0.083438 | 0.13487 | -0.087932 | 0.28483 | 1.4027 | 1.4027 | -0.082666 | -0.083438 | -0.083438 | 0.91781 | 1.4027 | 0.27159 | 0.13487 | -0.083438 | -0.087932

## ves
asymmetric_load1 | [5 empty] | asymmetric_load2 | [5 empty] | asymmetric_load3 | [5 empty] | asymmetric_load4
p_a | p_b | p_c | q_a | q_b | q_c | p_a | p_b | p_c | q_a | q_b | q_c | p_a | p_b | p_c | q_a | q_b | q_c | p_a | p_b | p_c | q_a | q_b | q_c
0.088 | 0.176 | 0.308 | 0.264 | 0.33 | 0.286 | 0.044 | 0.242 | 0.154 | 0.066 | 0.242 | 0.066 | 0.22 | 0.308 | 0.066 | 0.33 | 0.154 | 0.242 | 0.308 | 0.11 | 0 | 0.242 | 0.308 | 0.11
0 | 0.132 | 0.33 | 0.33 | 0.132 | 0.242 | 0.242 | 0.066 | 0.264 | 0.264 | 0.22 | 0.308 | 0.022 | 0.154 | 0.176 | 0.308 | 0.176 | 0.176 | 0.286 | 0.308 | 0.22 | 0.286 | 0.044 | 0.176
0.044 | 0.11 | 0.154 | 0 | 0.22 | 0.066 | 0.066 | 0.132 | 0.33 | 0.176 | 0.22 | 0.044 | 0.286 | 0 | 0.198 | 0.22 | 0.264 | 0.22 | 0 | 0.132 | 0.088 | 0.132 | 0.198 | 0.264
0.176 | 0.308 | 0.308 | 0 | 0.264 | 0.154 | 0.264 | 0.154 | 0.11 | 0.11 | 0.066 | 0.242 | 0.11 | 0.176 | 0 | 0.11 | 0.11 | 0.044 | 0.22 | 0.154 | 0.33 | 0 | 0.242 | 0.33
0.286 | 0.242 | 0.132 | 0.11 | 0.264 | 0.308 | 0.264 | 0.308 | 0.264 | 0.066 | 0.33 | 0.022 | 0.176 | 0.176 | 0.242 | 0.198 | 0.308 | 0.176 | 0.264 | 0.022 | 0.088 | 0.088 | 0.11 | 0.264
0.066 | 0.264 | 0.044 | 0.198 | 0.022 | 0.242 | 0.22 | 0.176 | 0.33 | 0.11 | 0.198 | 0.066 | 0.132 | 0.132 | 0.11 | 0.22 | 0.264 | 0.132 | 0.308 | 0.198 | 0.022 | 0.066 | 0 | 0.11
0.198 | 0.11 | 0.242 | 0.176 | 0.066 | 0.198 | 0.198 | 0.264 | 0.11 | 0.176 | 0.066 | 0.154 | 0.088 | 0.176 | 0.22 | 0.264 | 0.198 | 0.33 | 0.11 | 0.33 | 0.088 | 0.286 | 0.242 | 0.22
0.198 | 0.066 | 0.198 | 0.132 | 0.154 | 0.154 | 0.088 | 0.33 | 0.286 | 0.132 | 0.22 | 0.132 | 0.198 | 0.264 | 0.11 | 0.11 | 0.044 | 0.176 | 0.044 | 0.176 | 0.132 | 0.242 | 0.066 | 0.198
0.066 | 0.33 | 0.088 | 0 | 0.11 | 0.264 | 0.154 | 0.22 | 0.044 | 0.088 | 0.066 | 0.066 | 0.176 | 0.22 | 0 | 0.308 | 0.198 | 0.33 | 0.154 | 0.22 | 0.242 | 0.066 | 0.264 | 0.308
0.088 | 0.088 | 0.088 | 0.022 | 0.308 | 0.088 | 0.198 | 0.198 | 0.11 | 0.066 | 0.154 | 0.198 | 0.286 | 0.308 | 0.176 | 0.286 | 0.198 | 0.33 | 0 | 0.198 | 0.088 | 0.33 | 0.022 | 0.286
0 | 0.198 | 0.066 | 0.022 | 0.044 | 0.198 | 0.33 | 0.11 | 0 | 0.044 | 0.264 | 0.022 | 0.044 | 0.22 | 0.132 | 0 | 0.176 | 0.242 | 0.176 | 0.198 | 0.308 | 0.066 | 0.22 | 0.176
0.198 | 0.242 | 0.088 | 0.308 | 0.33 | 0.154 | 0.33 | 0.176 | 0.154 | 0.242 | 0.066 | 0.22 | 0.242 | 0.088 | 0.264 | 0.22 | 0.242 | 0.176 | 0 | 0.176 | 0.066 | 0.198 | 0.33 | 0.308
0.154 | 0.11 | 0.22 | 0.22 | 0.22 | 0.044 | 0.308 | 0.132 | 0.33 | 0.11 | 0.176 | 0.286 | 0.22 | 0.176 | 0.044 | 0 | 0.264 | 0.154 | 0.132 | 0 | 0.33 | 0.176 | 0.022 | 0.132
0.11 | 0.22 | 0.22 | 0.132 | 0.198 | 0.176 | 0.066 | 0.22 | 0.11 | 0.044 | 0.264 | 0.242 | 0.132 | 0.264 | 0.242 | 0.308 | 0.176 | 0.066 | 0.132 | 0.044 | 0.264 | 0.11 | 0.088 | 0.044
0.242 | 0.066 | 0.154 | 0.066 | 0.022 | 0.308 | 0.088 | 0.066 | 0.198 | 0.286 | 0.176 | 0.176 | 0.044 | 0 | 0.022 | 0.242 | 0.198 | 0.22 | 0.088 | 0.022 | 0.044 | 0.242 | 0.154 | 0.154
0.22 | 0.242 | 0.154 | 0.022 | 0.33 | 0.088 | 0.308 | 0.242 | 0.176 | 0.264 | 0 | 0.198 | 0.11 | 0.132 | 0.286 | 0.066 | 0.022 | 0.11 | 0 | 0.088 | 0.088 | 0.198 | 0.286 | 0.154
0.308 | 0.242 | 0.264 | 0.198 | 0.132 | 0.11 | 0.154 | 0.132 | 0.22 | 0.132 | 0.022 | 0.066 | 0.132 | 0.176 | 0.044 | 0.154 | 0 | 0.11 | 0.22 | 0.33 | 0.088 | 0.044 | 0.044 | 0.044
0.22 | 0.154 | 0.066 | 0.198 | 0.33 | 0.264 | 0.132 | 0 | 0.176 | 0.066 | 0.11 | 0.286 | 0 | 0.286 | 0.132 | 0 | 0.066 | 0.286 | 0.154 | 0.242 | 0.022 | 0.22 | 0.264 | 0.176
0.132 | 0.066 | 0.286 | 0.198 | 0.33 | 0 | 0.176 | 0.286 | 0.308 | 0.044 | 0.22 | 0.088 | 0.198 | 0.022 | 0.088 | 0.242 | 0.242 | 0.22 | 0.242 | 0.242 | 0.088 | 0.33 | 0.198 | 0.154
0.088 | 0.022 | 0.176 | 0.176 | 0.088 | 0.286 | 0.022 | 0 | 0.154 | 0.198 | 0.286 | 0 | 0.242 | 0.286 | 0.198 | 0.308 | 0.198 | 0.286 | 0.242 | 0.242 | 0.044 | 0.022 | 0.022 | 0.264
0.308 | 0.088 | 0.198 | 0.286 | 0.286 | 0.154 | 0.308 | 0.11 | 0.264 | 0.132 | 0.11 | 0.33 | 0.308 | 0.198 | 0.132 | 0.132 | 0 | 0.11 | 0.044 | 0.22 | 0.11 | 0 | 0.242 | 0.088
0.242 | 0.044 | 0 | 0.242 | 0.308 | 0.176 | 0.088 | 0.154 | 0.242 | 0.132 | 0.154 | 0.154 | 0.22 | 0.022 | 0.242 | 0.044 | 0.264 | 0.22 | 0.11 | 0 | 0.154 | 0.308 | 0.066 | 0.198
0.044 | 0.022 | 0.088 | 0 | 0.154 | 0.11 | 0.066 | 0.308 | 0.088 | 0.198 | 0.154 | 0.264 | 0.264 | 0.264 | 0.132 | 0.308 | 0.044 | 0.33 | 0.308 | 0.044 | 0.176 | 0.066 | 0.308 | 0.242
0.154 | 0.176 | 0.308 | 0.176 | 0.242 | 0 | 0.088 | 0.154 | 0.132 | 0.088 | 0.33 | 0.022 | 0.154 | 0.022 | 0.132 | 0 | 0.088 | 0.22 | 0.154 | 0.22 | 0.242 | 0.132 | 0.286 | 0.044
0.198 | 0.044 | 0.132 | 0 | 0.154 | 0 | 0.242 | 0.22 | 0.242 | 0.132 | 0.132 | 0.176 | 0.088 | 0.088 | 0.198 | 0.044 | 0 | 0.066 | 0.22 | 0.066 | 0.308 | 0.242 | 0.176 | 0.11
0.33 | 0.066 | 0.154 | 0.132 | 0.154 | 0.198 | 0.242 | 0.264 | 0.242 | 0.022 | 0.11 | 0.088 | 0.176 | 0.242 | 0.286 | 0 | 0.022 | 0.33 | 0.132 | 0.242 | 0.176 | 0.022 | 0.264 | 0.154
0.066 | 0.044 | 0.308 | 0.308 | 0 | 0.154 | 0.22 | 0.264 | 0.022 | 0.132 | 0.088 | 0.22 | 0.242 | 0.242 | 0.044 | 0.022 | 0.022 | 0.264 | 0.132 | 0.154 | 0.33 | 0.066 | 0.066 | 0.11
0.022 | 0.264 | 0.198 | 0.33 | 0.11 | 0.066 | 0.176 | 0.242 | 0.198 | 0.154 | 0.11 | 0.242 | 0.11 | 0.33 | 0.11 | 0 | 0.022 | 0.22 | 0.198 | 0.088 | 0.176 | 0.066 | 0.22 | 0.154
0.044 | 0.22 | 0.33 | 0.132 | 0.286 | 0.242 | 0.33 | 0.11 | 0.154 | 0.088 | 0 | 0.132 | 0.33 | 0.022 | 0.088 | 0.286 | 0.176 | 0 | 0.154 | 0.176 | 0.22 | 0.022 | 0.308 | 0
0.022 | 0.154 | 0.198 | 0.308 | 0.286 | 0.154 | 0.088 | 0.176 | 0.11 | 0.154 | 0.242 | 0.33 | 0.264 | 0.22 | 0.088 | 0.11 | 0.022 | 0.066 | 0.198 | 0.11 | 0.308 | 0 | 0.286 | 0.242
0 | 0.264 | 0.066 | 0.176 | 0.198 | 0 | 0.088 | 0.132 | 0.308 | 0 | 0.132 | 0.264 | 0.308 | 0.22 | 0.154 | 0.176 | 0.11 | 0 | 0.088 | 0.066 | 0.22 | 0.308 | 0.264 | 0.11
0.11 | 0 | 0.154 | 0.286 | 0.132 | 0.176 | 0.286 | 0.066 | 0.176 | 0.044 | 0.242 | 0.264 | 0.044 | 0.176 | 0.132 | 0.176 | 0.286 | 0.154 | 0.066 | 0 | 0.264 | 0.088 | 0.088 | 0.044
0.132 | 0.132 | 0.198 | 0.022 | 0.022 | 0.242 | 0.242 | 0.044 | 0.198 | 0.044 | 0.022 | 0.066 | 0.308 | 0.176 | 0.308 | 0.33 | 0.132 | 0.132 | 0.044 | 0.264 | 0.066 | 0.088 | 0.308 | 0.154
0.286 | 0.022 | 0.198 | 0.132 | 0.066 | 0.242 | 0.242 | 0.044 | 0 | 0.242 | 0.088 | 0.132 | 0.242 | 0.044 | 0.022 | 0.066 | 0.088 | 0.242 | 0.264 | 0.154 | 0 | 0.22 | 0.066 | 0.242
0 | 0.11 | 0.044 | 0.132 | 0.176 | 0.33 | 0.242 | 0.286 | 0.154 | 0.198 | 0.132 | 0.242 | 0.308 | 0.286 | 0.176 | 0.132 | 0.022 | 0.264 | 0.132 | 0.022 | 0.286 | 0.022 | 0.22 | 0.176
0.066 | 0.242 | 0.22 | 0.242 | 0.286 | 0.286 | 0.154 | 0.088 | 0.22 | 0.132 | 0.154 | 0.308 | 0.242 | 0.33 | 0.286 | 0.22 | 0.198 | 0.066 | 0.286 | 0.198 | 0.286 | 0.33 | 0.154 | 0.132
0.11 | 0.176 | 0.11 | 0.132 | 0.176 | 0.11 | 0.286 | 0.132 | 0.11 | 0.044 | 0.176 | 0.022 | 0.242 | 0.198 | 0.176 | 0.11 | 0.22 | 0.264 | 0.066 | 0.176 | 0 | 0.154 | 0.11 | 0.242
0.242 | 0.022 | 0.11 | 0.308 | 0.154 | 0 | 0.286 | 0.242 | 0.132 | 0 | 0.308 | 0.154 | 0.154 | 0.198 | 0.11 | 0.11 | 0.198 | 0.066 | 0.22 | 0.132 | 0.242 | 0.22 | 0.044 | 0.22
0.066 | 0.154 | 0.132 | 0.132 | 0 | 0.33 | 0.33 | 0.066 | 0.308 | 0.264 | 0.022 | 0.044 | 0.066 | 0.11 | 0.132 | 0.132 | 0.022 | 0.088 | 0.308 | 0.11 | 0.308 | 0.132 | 0.176 | 0.132
0 | 0.308 | 0.198 | 0.11 | 0.088 | 0.33 | 0.264 | 0.154 | 0.022 | 0.088 | 0.286 | 0.264 | 0.022 | 0.198 | 0.198 | 0.286 | 0.22 | 0.264 | 0.264 | 0.198 | 0.22 | 0.33 | 0.198 | 0.044
0.088 | 0.308 | 0.198 | 0.11 | 0.066 | 0.33 | 0.044 | 0.264 | 0.088 | 0.264 | 0.11 | 0.154 | 0.154 | 0.176 | 0.22 | 0.022 | 0.33 | 0.176 | 0.132 | 0 | 0.088 | 0.176 | 0.066 | 0.264
0.088 | 0.308 | 0.264 | 0.198 | 0.044 | 0.22 | 0.088 | 0.088 | 0.066 | 0.242 | 0.308 | 0.044 | 0.132 | 0.33 | 0.022 | 0.176 | 0.242 | 0.022 | 0.066 | 0.308 | 0.022 | 0.132 | 0.33 | 0.308
0.022 | 0.264 | 0.176 | 0.044 | 0.176 | 0.286 | 0.176 | 0.022 | 0.022 | 0.176 | 0.33 | 0.242 | 0.264 | 0.154 | 0.264 | 0.33 | 0.33 | 0.11 | 0.242 | 0.088 | 0.286 | 0.242 | 0.022 | 0.044
0.11 | 0.198 | 0.132 | 0.198 | 0.11 | 0.308 | 0.198 | 0.11 | 0.044 | 0.088 | 0.154 | 0.33 | 0.154 | 0.044 | 0.154 | 0.088 | 0.044 | 0.154 | 0.044 | 0.11 | 0.242 | 0.264 | 0.33 | 0.264
0.176 | 0.154 | 0.044 | 0.33 | 0.286 | 0.308 | 0.176 | 0.022 | 0 | 0.066 | 0.088 | 0.242 | 0.066 | 0.132 | 0.132 | 0.132 | 0.308 | 0.11 | 0.308 | 0.044 | 0.242 | 0.33 | 0.022 | 0.308
0.022 | 0.33 | 0.176 | 0.044 | 0.308 | 0.22 | 0.198 | 0.154 | 0.154 | 0 | 0.132 | 0.154 | 0.132 | 0.308 | 0.264 | 0.044 | 0.132 | 0.264 | 0.044 | 0.088 | 0.264 | 0.154 | 0.154 | 0.176
0.176 | 0.308 | 0.264 | 0.11 | 0.22 | 0 | 0.286 | 0.066 | 0.198 | 0.022 | 0.264 | 0.22 | 0.022 | 0 | 0.154 | 0.154 | 0 | 0.022 | 0.022 | 0.088 | 0.176 | 0.11 | 0.308 | 0.154
0.198 | 0 | 0.066 | 0.11 | 0.11 | 0.33 | 0.022 | 0.022 | 0 | 0.286 | 0 | 0.022 | 0.154 | 0.286 | 0.242 | 0.022 | 0.088 | 0.044 | 0.11 | 0.176 | 0.308 | 0.264 | 0.044 | 0.198
0.022 | 0.044 | 0.022 | 0.176 | 0.11 | 0.132 | 0.22 | 0.33 | 0.286 | 0.022 | 0.242 | 0.33 | 0.066 | 0.088 | 0.11 | 0.242 | 0.154 | 0.198 | 0.066 | 0.154 | 0.088 | 0.176 | 0 | 0.154
0.33 | 0.132 | 0.286 | 0.308 | 0.22 | 0.154 | 0.154 | 0.286 | 0.33 | 0.242 | 0.33 | 0.066 | 0.154 | 0.33 | 0.044 | 0.088 | 0.198 | 0.088 | 0.044 | 0.044 | 0.176 | 0.088 | 0.154 | 0.066
0.154 | 0.044 | 0 | 0.198 | 0 | 0.022 | 0.22 | 0.286 | 0.132 | 0.066 | 0.132 | 0.066 | 0.044 | 0.198 | 0.176 | 0.066 | 0.33 | 0 | 0.22 | 0.132 | 0.154 | 0.132 | 0.22 | 0.242
0.132 | 0.22 | 0.176 | 0 | 0.264 | 0.088 | 0.198 | 0.33 | 0.286 | 0 | 0.176 | 0.264 | 0 | 0.242 | 0.11 | 0.022 | 0.132 | 0.066 | 0.044 | 0.33 | 0.33 | 0.154 | 0.11 | 0.308
0.242 | 0.088 | 0.022 | 0 | 0 | 0.022 | 0.22 | 0.176 | 0.154 | 0.066 | 0.22 | 0.198 | 0.22 | 0.022 | 0.176 | 0.132 | 0.11 | 0.154 | 0.132 | 0.066 | 0.176 | 0.33 | 0.154 | 0.33
0.066 | 0.022 | 0.308 | 0 | 0.066 | 0.066 | 0.242 | 0.132 | 0 | 0.198 | 0.088 | 0.22 | 0.066 | 0.132 | 0.088 | 0.088 | 0.286 | 0.22 | 0.11 | 0.132 | 0.286 | 0.088 | 0.022 | 0.264
0.044 | 0.33 | 0.22 | 0.176 | 0.066 | 0.242 | 0.132 | 0.33 | 0.044 | 0.066 | 0.264 | 0.132 | 0.286 | 0.33 | 0.308 | 0.154 | 0.176 | 0.264 | 0.176 | 0.022 | 0.132 | 0.242 | 0.11 | 0.242
0.088 | 0.242 | 0.198 | 0 | 0.308 | 0.176 | 0.044 | 0.11 | 0.066 | 0.33 | 0.022 | 0.088 | 0.33 | 0.176 | 0.044 | 0.264 | 0.33 | 0 | 0.066 | 0.132 | 0.308 | 0.22 | 0.066 | 0.286
0.198 | 0.264 | 0.286 | 0 | 0.154 | 0.066 | 0.22 | 0.264 | 0.132 | 0.308 | 0.308 | 0.264 | 0.33 | 0.044 | 0 | 0.132 | 0.242 | 0.33 | 0 | 0.044 | 0.066 | 0.264 | 0.11 | 0.066
0.264 | 0 | 0.154 | 0.33 | 0 | 0.044 | 0.066 | 0 | 0.198 | 0.088 | 0.088 | 0.242 | 0.154 | 0.088 | 0.33 | 0.022 | 0.088 | 0.066 | 0.33 | 0.11 | 0.132 | 0.242 | 0.154 | 0.022
0.286 | 0.066 | 0.154 | 0.176 | 0.264 | 0.264 | 0.154 | 0.154 | 0.33 | 0.264 | 0.33 | 0.088 | 0.176 | 0.286 | 0.022 | 0.308 | 0.286 | 0.22 | 0.286 | 0.11 | 0 | 0.22 | 0.242 | 0
0.022 | 0.088 | 0.176 | 0.176 | 0.33 | 0.154 | 0.33 | 0.088 | 0.132 | 0.066 | 0.308 | 0.088 | 0.176 | 0.242 | 0.22 | 0.264 | 0.11 | 0.308 | 0.176 | 0.088 | 0.044 | 0.11 | 0.11 | 0.33
0.132 | 0.198 | 0.198 | 0.044 | 0 | 0.176 | 0 | 0.242 | 0.044 | 0.264 | 0.198 | 0.308 | 0.264 | 0.132 | 0.242 | 0.044 | 0.33 | 0.242 | 0.308 | 0.176 | 0.022 | 0.22 | 0.308 | 0.198
0 | 0.066 | 0.022 | 0.154 | 0.176 | 0.176 | 0.154 | 0.22 | 0.33 | 0.022 | 0.044 | 0.22 | 0.11 | 0.242 | 0.286 | 0.22 | 0.308 | 0.308 | 0 | 0.11 | 0.066 | 0.088 | 0.242 | 0.066
0.242 | 0.22 | 0 | 0.286 | 0.286 | 0.264 | 0.132 | 0.264 | 0.088 | 0.198 | 0.066 | 0.286 | 0.242 | 0.22 | 0.022 | 0.33 | 0.286 | 0 | 0.33 | 0.198 | 0.066 | 0.154 | 0.286 | 0.198
0.11 | 0.198 | 0.022 | 0 | 0.11 | 0.264 | 0.264 | 0.308 | 0.198 | 0 | 0.22 | 0.286 | 0.198 | 0.088 | 0.044 | 0.154 | 0.132 | 0.22 | 0.088 | 0.066 | 0.022 | 0.088 | 0.154 | 0.308
0.242 | 0.11 | 0.242 | 0.066 | 0.308 | 0.022 | 0.33 | 0.022 | 0.33 | 0.33 | 0.132 | 0.33 | 0.264 | 0 | 0.22 | 0.198 | 0.242 | 0.11 | 0.022 | 0.132 | 0.066 | 0.176 | 0.242 | 0.264
0.022 | 0.242 | 0.044 | 0.154 | 0.11 | 0.176 | 0.33 | 0 | 0.242 | 0.308 | 0.088 | 0.198 | 0.132 | 0.198 | 0.198 | 0.132 | 0.242 | 0.11 | 0.176 | 0.066 | 0.198 | 0.022 | 0.088 | 0.066
0.022 | 0.088 | 0.044 | 0.11 | 0.11 | 0.088 | 0.044 | 0.33 | 0.176 | 0.242 | 0.132 | 0.066 | 0.242 | 0.264 | 0.11 | 0 | 0.264 | 0.286 | 0.264 | 0.132 | 0.33 | 0.308 | 0.198 | 0.198
0.242 | 0.088 | 0 | 0.154 | 0.22 | 0.022 | 0.264 | 0.154 | 0.044 | 0.264 | 0.11 | 0.264 | 0.198 | 0.242 | 0.286 | 0.33 | 0.264 | 0.198 | 0.11 | 0.044 | 0 | 0.198 | 0.044 | 0.308
0.132 | 0.22 | 0.264 | 0.066 | 0.198 | 0 | 0.044 | 0.066 | 0.33 | 0.242 | 0.088 | 0.176 | 0.264 | 0.286 | 0.11 | 0.286 | 0.132 | 0.33 | 0.154 | 0.264 | 0.242 | 0.286 | 0.22 | 0.33
0.22 | 0.176 | 0.198 | 0.022 | 0.198 | 0.33 | 0.242 | 0.132 | 0.22 | 0.22 | 0.198 | 0.088 | 0.242 | 0.154 | 0.308 | 0.286 | 0.264 | 0.044 | 0.264 | 0.33 | 0.286 | 0.132 | 0.242 | 0.066
0.022 | 0 | 0.308 | 0.066 | 0 | 0.176 | 0.088 | 0.242 | 0.22 | 0 | 0.022 | 0.242 | 0.198 | 0.33 | 0.264 | 0.066 | 0.198 | 0.198 | 0.088 | 0.088 | 0.286 | 0.154 | 0.308 | 0.154
0.242 | 0.198 | 0.176 | 0.044 | 0.066 | 0.11 | 0.176 | 0.308 | 0.066 | 0.242 | 0.308 | 0.33 | 0.132 | 0.264 | 0.176 | 0.242 | 0.154 | 0.066 | 0.286 | 0.11 | 0.242 | 0.132 | 0.22 | 0.044
0.132 | 0.154 | 0.198 | 0.264 | 0.242 | 0.066 | 0.044 | 0.066 | 0 | 0.176 | 0.044 | 0.088 | 0.088 | 0.176 | 0.044 | 0.242 | 0.264 | 0.264 | 0.176 | 0.308 | 0.242 | 0.044 | 0.11 | 0.286
0 | 0.242 | 0.088 | 0.132 | 0.11 | 0.044 | 0.022 | 0.022 | 0.22 | 0.242 | 0.242 | 0.022 | 0.22 | 0.11 | 0 | 0.022 | 0.176 | 0.264 | 0.088 | 0.22 | 0.088 | 0.242 | 0.088 | 0
0.264 | 0.33 | 0.11 | 0.286 | 0 | 0.066 | 0.308 | 0.132 | 0.264 | 0.154 | 0.308 | 0.154 | 0 | 0.22 | 0.066 | 0.066 | 0.11 | 0.176 | 0.022 | 0.22 | 0.11 | 0.33 | 0.11 | 0.154
0.22 | 0 | 0.044 | 0.154 | 0.176 | 0.044 | 0.066 | 0.308 | 0.242 | 0.132 | 0.264 | 0.088 | 0.11 | 0.088 | 0.264 | 0.088 | 0.198 | 0.33 | 0.11 | 0.264 | 0.286 | 0.198 | 0.154 | 0
0.176 | 0.154 | 0.264 | 0.11 | 0.308 | 0.066 | 0.176 | 0.154 | 0.088 | 0.044 | 0.11 | 0.044 | 0 | 0.132 | 0.242 | 0.242 | 0.264 | 0.11 | 0.286 | 0.33 | 0.11 | 0.198 | 0.176 | 0.066
0.22 | 0.088 | 0.308 | 0.242 | 0.176 | 0.154 | 0 | 0 | 0.264 | 0.264 | 0.33 | 0.154 | 0.066 | 0.286 | 0.198 | 0.088 | 0.198 | 0.33 | 0.154 | 0.286 | 0.176 | 0.11 | 0.22 | 0.33
0.198 | 0.198 | 0.198 | 0 | 0 | 0.242 | 0.044 | 0.264 | 0.022 | 0.176 | 0.11 | 0.022 | 0.176 | 0 | 0.242 | 0.154 | 0.242 | 0.22 | 0.022 | 0.176 | 0.022 | 0.132 | 0.33 | 0.088
0.176 | 0 | 0.154 | 0.154 | 0.286 | 0.22 | 0 | 0.044 | 0.176 | 0 | 0.242 | 0.264 | 0.132 | 0.33 | 0 | 0.088 | 0.22 | 0.088 | 0.33 | 0.198 | 0.154 | 0.286 | 0.066 | 0.044
0.154 | 0.33 | 0.154 | 0.022 | 0.264 | 0.176 | 0.264 | 0.33 | 0.066 | 0.264 | 0.088 | 0.33 | 0.088 | 0.044 | 0.242 | 0.154 | 0.11 | 0.286 | 0.264 | 0.33 | 0.308 | 0.286 | 0.264 | 0.044
0.286 | 0.154 | 0.066 | 0.286 | 0.286 | 0.066 | 0.286 | 0.044 | 0.044 | 0.176 | 0.286 | 0.044 | 0.044 | 0.264 | 0.176 | 0.132 | 0.11 | 0.242 | 0.11 | 0.198 | 0.132 | 0.088 | 0 | 0.33
0.242 | 0.264 | 0.33 | 0.154 | 0.154 | 0.022 | 0.022 | 0.33 | 0.22 | 0.264 | 0.154 | 0.022 | 0.066 | 0.154 | 0.066 | 0.33 | 0.264 | 0.264 | 0.242 | 0.22 | 0.044 | 0.286 | 0.11 | 0.11
0.242 | 0.154 | 0.11 | 0.22 | 0.066 | 0.176 | 0 | 0.308 | 0.308 | 0.044 | 0.11 | 0 | 0.11 | 0 | 0 | 0.198 | 0.198 | 0.132 | 0.198 | 0.11 | 0 | 0.308 | 0.066 | 0.132
0.088 | 0.286 | 0.132 | 0 | 0 | 0.264 | 0.066 | 0.22 | 0 | 0.044 | 0.044 | 0.264 | 0.11 | 0.088 | 0.044 | 0.11 | 0.198 | 0.11 | 0.286 | 0.066 | 0.154 | 0.088 | 0.176 | 0.022
0.022 | 0.242 | 0.176 | 0.33 | 0.198 | 0.286 | 0.264 | 0.22 | 0.044 | 0.044 | 0.11 | 0.308 | 0.22 | 0 | 0.264 | 0.33 | 0.11 | 0.176 | 0.022 | 0.33 | 0.022 | 0.286 | 0.088 | 0.286
0.044 | 0.088 | 0.022 | 0.286 | 0.154 | 0.33 | 0.154 | 0.264 | 0.11 | 0.198 | 0.242 | 0.198 | 0.242 | 0.176 | 0.044 | 0.022 | 0.22 | 0.308 | 0.132 | 0.286 | 0.33 | 0.22 | 0.286 | 0.308
0.286 | 0.066 | 0.088 | 0.132 | 0.044 | 0.11 | 0.154 | 0.308 | 0.33 | 0 | 0.044 | 0.11 | 0 | 0.22 | 0 | 0.242 | 0.264 | 0.33 | 0.33 | 0.286 | 0.198 | 0.088 | 0.154 | 0.198
0.286 | 0.308 | 0.044 | 0 | 0.308 | 0.22 | 0.242 | 0.22 | 0.176 | 0.22 | 0 | 0.198 | 0.066 | 0.088 | 0.066 | 0.308 | 0.22 | 0.33 | 0.044 | 0.22 | 0.264 | 0.176 | 0.264 | 0.088
0.154 | 0.22 | 0.198 | 0.066 | 0.132 | 0.022 | 0.22 | 0.33 | 0.286 | 0 | 0.33 | 0.11 | 0.33 | 0.088 | 0.286 | 0.22 | 0.264 | 0.264 | 0.088 | 0.286 | 0.154 | 0.088 | 0.286 | 0.198
0.176 | 0.11 | 0.066 | 0.286 | 0.33 | 0.11 | 0.308 | 0.132 | 0.088 | 0.308 | 0.242 | 0.264 | 0.088 | 0.044 | 0.154 | 0.22 | 0.33 | 0.286 | 0.33 | 0.088 | 0.176 | 0.176 | 0 | 0.33
0.33 | 0.22 | 0.044 | 0.264 | 0.286 | 0.066 | 0.022 | 0.154 | 0.066 | 0 | 0.132 | 0.22 | 0.044 | 0.286 | 0.044 | 0 | 0.11 | 0.11 | 0 | 0.264 | 0.154 | 0 | 0.198 | 0.11
0.132 | 0.132 | 0.088 | 0.132 | 0.286 | 0 | 0.022 | 0.242 | 0.132 | 0.264 | 0.242 | 0.044 | 0.22 | 0.242 | 0.33 | 0.176 | 0.242 | 0.308 | 0.132 | 0.33 | 0.11 | 0.33 | 0.286 | 0.154
0.088 | 0.198 | 0.088 | 0.264 | 0.088 | 0.33 | 0.198 | 0.264 | 0.33 | 0.176 | 0.11 | 0.264 | 0 | 0.11 | 0.176 | 0.33 | 0.022 | 0.11 | 0.066 | 0.264 | 0.044 | 0.132 | 0.264 | 0.176
0.022 | 0.088 | 0 | 0.066 | 0.264 | 0 | 0.33 | 0.33 | 0.308 | 0.22 | 0.066 | 0.066 | 0 | 0.044 | 0.022 | 0.132 | 0.066 | 0.11 | 0 | 0.264 | 0.044 | 0.176 | 0.022 | 0.22
0.066 | 0.33 | 0.022 | 0.066 | 0.308 | 0.132 | 0.066 | 0.11 | 0.264 | 0.308 | 0.22 | 0.11 | 0.242 | 0.198 | 0.11 | 0.264 | 0.11 | 0.264 | 0.22 | 0.198 | 0.308 | 0.044 | 0.242 | 0.308

## grid
grid_name | bus | vm_pu | va_degree | r0x0_max | x0x_max
External grid | Bus HV1 | 1 | 0

## Banco_cond
bank_name | bus | q_mvar | vn_kv | loss_factor
bank_2 | Bus HV2 | 50 | 11 | 0.003

## catalogo_conductor
Conductor_id | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | r0_ohm_per_km | x0_ohm_per_km | c0_nf_per_km | g_us_per_km | max_i_ka
1 | 0.07855 | 0.4 | 8.8 | 0.7766 | 0.29908 | 500 | 0.1 | 0.504